## Electricity III (17102-III)

## Copyright: 2026

## Virginia Assignment Code: 8535

## Suggested Grade Level: 12

## Duration: 36 weeks

## Hours: 280

## Credits: 2

## Prerequisites: 8534

CTSO: SkillsUSA

# Course Description: Through hands-on experiences, students continue building skills in the installation, operation, maintenance, and repair of electrical systems. Students also begin to explore management roles in the electrical industry. Additionally, students explore industrial applications. They also study luminaires, overcurrent protection, service equipment, motor controls, transformers, grounding, and the National Electrical Code (NEC). Contextual instruction and student participation in co-curricular career and technical student organization (CTSO) activities will develop leadership, interpersonal, and career skills. High-quality work-based learning (HQWBL) will provide experiential learning opportunities related to students' career goals and/or interests, integrated with instruction, and performed in partnership with local businesses and organizations.

The Virginia Administrative Code regulates the class size for this course. For additional information, see 8VAC20-120-150, "Maximum class size," or contact the Virginia Department of Education Office of Career and Technical Education at cte@doe.virginia.gov.

Jump to Electricity III-specific content

| Task No. | Tasks/Competencies | Definitions | Process/Skill Questions | SOL Correlations | SkillsUSA Correlations |  | NCCER Correlations |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | ## Demonstrating Personal Qualities and Abilities |  |  |  |  |  |  |
| 1 | Demonstrate creativity and innovation. | Demonstration includes - discussing the importance of creativity and innovation in the workplace - brainstorming and contributing ideas, strategies, and solutions - developing and/or improving products, services, or processes - identifying and allocating available resources. | - What are creativity and innovation? Why are they important in the workplace? - Why is it important to brainstorm and contribute ideas within a team? - How might one improve a product, service, or process in a career pathway? - What resources are needed to solve a problem? How should these resources be allocated? | English: 9.C, 9.DSR, 9.RI, 9.W, 9.R, 10.C, 10.DSR, 10.RI, 10.W, 10.R, 11.C, 11.DSR, 11.RI, 11.W, 11.R, 12.C, 12.DSR, 12.RI, 12.W, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: A.9, AFDA.3, AFDA.4, AFDA.5, AFDA.6, AFDA.7, AFDA.8, AII.9, COM.1, COM.3, COM.4, COM.5, COM.8, DM.7, DM.1*, DM.10, DM.2*, DM.3*, PS.3*, PS.4*, PS.7*, PS.9*, PS.10* Science: BIO.1, CH.1, ES.1 |  |  |  |
| 2 | Demonstrate critical thinking and problem-solving. | Demonstration includes - recognizing and analyzing problems - evaluating potential solutions and resources - using a logical approach to make decisions and solve problems - implementing effective courses of action. | - What is an example of a situation where one could use a reasoning model to make a decision? - What steps might one take to make a decision or solve a problem? - What are examples of questions one might ask when analyzing problems? - How can potential solutions be evaluated? - What are the advantages and disadvantages of using a reasoning approach to make a decision or solve a problem? | English: 9.C, 9.DSR, 9.RI, 9.W, 9.R, 10.C, 10.DSR, 10.RI, 10.W, 10.R, 11.C, 11.DSR, 11.RI, 11.W, 11.R, 12.C, 12.DSR, 12.RI, 12.W, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: A.8, A.9, G.1, G.13, G.14, AFDA.3, AFDA.5, AFDA.8, AII.9, AII.10, AII.11, COM.1, COM.3, COM.4, COM.5, COM.8, DM.4, DM.7, DM.1*, DM.2*, DM.3*, DM.9*, PS.9*, PS.10* Science: BIO.1, CH.1, ES.1 |  |  |  |
| 3 | Demonstrate initiative and self-direction. | Demonstration includes - recognizing the importance of proactive, independent decision making - identifying workplace needs - completing tasks with minimal direct supervision - applying solutions. | - What is the difference between initiative and self-direction? - Why is self-direction important in the workplace? - What is an example of applying initiative? - How can tasks be completed with minimal direct supervision? | English: 9.C, 9.DSR, 9.RI, 9.W, 9.R, 10.C, 10.DSR, 10.RI, 10.W, 10.R, 11.C, 11.DSR, 11.RI, 11.W, 11.R, 12.C, 12.DSR, 12.RI, 12.W, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 4 | Demonstrate integrity. | Demonstration includes - defining integrity - recognizing the importance of having integrity in the workplace - complying with local, state, and federal laws - adhering to workplace policies and procedures - exhibiting honesty, fairness, and respect toward self, others, and property. | - What is a recent example of an employer failing to comply with the law? - Where can one find information on local, state, and federal laws? - How can workplace policies and rules affect employees’ personal lives? - How does one demonstrate integrity? - How should an employee respond when he/she sees a coworker failing to comply with a workplace policy or procedure? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, GOVT.5, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 5 | Demonstrate work ethic. | Demonstration includes - defining work ethic - recognizing the importance of having a strong work ethic - demonstrating diligence (e.g., working with persistence to accomplish a task) - maintaining dependability (e.g., being reliable) - accounting for one’s decisions and actions - accepting the consequences of decisions and actions. | - What is the difference between responsibility and accountability? - What are the consequences of not being prepared for a school or workplace assignment? - What are some examples of positive work ethic? - Why is a positive work ethic valued by teachers and employers? - What are the consequences of having a poor work ethic? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, GOVT.5, Skills VUS, Skills WHI, Skills WHII |  |  |  |
|  | ## Demonstrating Interpersonal Skills |  |  |  |  |  |  |
| 6 | Demonstrate conflict-resolution skills. | Demonstration includes negotiating diplomatic solutions to interpersonal and workplace issues (e.g., due to personality, culture, work style, or performance). | - What is an example of an appropriate approach to address a workplace conflict? - What factors should one take into consideration when determining the best approach to resolve an interpersonal or workplace conflict? - How can one maintain a good working relationship with a colleague one does not like? - How might one approach a supervisor with whom one disagrees? - How do personality issues affect workflow? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, Skills VUS |  |  |  |
| 7 | Demonstrate listening and speaking skills. | Demonstration includes - defining nonverbal cues - employing active listening techniques (e.g., asking clarifying questions, paraphrasing what was said) - exhibiting public speaking skills (e.g., making presentations) - articulating ideas in a manner appropriate to the setting and audience (e.g., considering the chosen communication method and audience’s level of knowledge). | - Why is it important to use active listening techniques? - What is paraphrasing? How can paraphrasing help achieve clarity? - What are some ways that one can improve public speaking skills? - Why is it important to know one’s audience when delivering a presentation? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 8 | Demonstrate respect for diversity. | Demonstration includes - defining diversity and discussing its importance - identifying individual differences (e.g., age, gender, ethnicity, culture, race, viewpoints, socioeconomic status, and ability) - showing respect for and valuing individual differences in the workplace - being self-aware and mindful of one’s own bias - collaborating with people of diverse backgrounds, viewpoints, and experiences. | - What is bias? What are different forms of workplace bias? - What is the difference between sympathy and empathy? - How is having respect for diversity different from being aware of diversity? - How does one bridge generation gaps in the workplace? - Why is collaboration with people of diverse backgrounds, viewpoints, and experiences important? - What are the benefits of having diversity in the workplace? What are the consequences of a lack of diversity in the workplace? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, GOVT.5, Skills VUS, VUS.16, Skills WHI, Skills WHII |  |  |  |
| 9 | Demonstrate customer service skills. | Demonstration includes - defining customer service (e.g., internal customer service; external customer service) - identifying the benefits of providing helpful, courteous, and knowledgeable customer service - prioritizing customer service (both within an organization and to external customers and stakeholders) - anticipating needs of customers and coworkers - demonstrating how to provide helpful, courteous, and knowledgeable service to address customer and/or coworker needs. | - How does internal customer service influence organizational productivity? - What is an example of a time when a customer service representative anticipated and addressed a customer’s needs? - Why is it important to receive helpful, courteous, and knowledgeable service? - Why is soliciting feedback important? - Why is cultivating relationships important? | English: 9.C, 9.DSR, 9.RI, 9.W, 10.C, 10.DSR, 10.RI, 10.W, 11.C, 11.DSR, 11.RI, 11.W, 12.C, 12.DSR, 12.RI, 12.W History and Social Science: Skills GOVT, GOVT.5, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 10 | Collaborate with team members. | Collaboration should include - defining collaboration and teamwork - discussing the benefits of teamwork - establishing expectations, roles, and goals - contributing to the success of the team by sharing responsibility - respecting the thoughts, opinions, and contributions of other team members. | - What are some benefits of collaborating to accomplish a goal? - What expectations and roles might a group set as they begin collaborating? - What does sharing responsibility mean? - How and when should one appropriately ask for help? - Why is it important to respect the thoughts, contributions, and opinions of other team members? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, GOVT.5, Skills VUS, Skills WHI, Skills WHII |  |  |  |
|  | ## Demonstrating Professional Competencies |  |  |  |  |  |  |
| 11 | Demonstrate big-picture thinking. | Demonstration includes - defining big-picture thinking as an understanding of one's role in fulfilling the mission of the workplace and a consideration of the social, economic, and environmental effects of one's actions - identifying the organization’s structure, culture, policies, and procedures, as well as its role and position within the community, industry, and economy. | - Why is it important to understand where one fits within the family, school, workplace, and the community? - How might a person’s actions affect the school, community, and workplace? - How do an organization’s vision and mission statements help people understand the organization’s big picture? - How can knowledge of the big picture of an industry help with career planning? | English: 9.C, 9.DSR, 9.RI, 10.C, 10.DSR, 10.RI, 11.C, 11.DSR, 11.RI, 12.C, 12.DSR, 12.RI History and Social Science: Skills GOVT, GOVT.14, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 12 | Demonstrate career- and life-management skills. | Demonstration includes - recognizing the importance of education and career planning (e.g., minimum job qualifications, advancement and professional-development opportunities) - identifying available benefits and professional resources (e.g., labor unions, professional organizations, employee-assistance programs, insurance and retirement benefits) - managing personal growth and wellness (e.g., stress management, self-care, financial planning) - setting goals (e.g., specific, measurable, attainable, realistic, time-bound [SMART] goals). | - Where can one find entry-level requirements for a specific career? - Why is it important to continuously update a career plan? - What is the difference between a short-term and long-term goal? - Why is it important to create a personal financial plan? - What resources are available to assist with achieving personal education, career, financial, and health goals? | English: 9.C, 9.W, 10.C, 10.W, 11.C, 11.W, 12.C, 12.W History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 13 | Demonstrate continuous learning and adaptability. | Demonstration includes - describing the importance of continuous learning - identifying resources for continuous learning (e.g., publications, trade organizations, professional networking, workshops/classes) - modifying work performance based on feedback (i.e., being coachable) - acquiring industry-related professional skills and knowledge (e.g., credentials/certifications) - adapting to changing job requirements. | - Why is it important to have an open mind and be flexible when confronted with change? - How does one benefit from constructive feedback? - What strategies are helpful for modifying work performance after receiving feedback? - What actions can an employee take to become eligible for promotion in a given career? - What resources might one use to keep current in a specific career field? | English: 9.C, 9.DSR, 9.RI, 9.R, 10.C, 10.DSR, 10.RI, 10.6, 10.R, 11.C, 11.DSR, 11.RI, 11.R, 12.C, 12.DSR, 12.RI, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Science: BIO.1, CH.1, PH.1, PH.4 |  |  |  |
| 14 | Manage time and resources. | Management should include - defining efficiency and productivity as they relate to time and resource management - developing a plan of work - differentiating between high- and low-priority tasks - adapting work goals based on time and resources - considering resources - human (personnel)—capitalizing on strengths; respecting professional goals - capital—maintaining equipment to ensure longevity and efficiency - natural—using responsible and sustainable practices. | - What is time management? How does it affect the workplace? - What happens when an employee is not given enough time to accomplish a task? - Why is it important to prioritize work tasks? - How are efficiency and productivity related? - Why is it important to maintain equipment? What are possible consequences of not doing so? - What are examples of responsible and sustainable practices in the workplace? | English: 9.C, 9.DSR, 9.RI, 9.R, 10.C, 10.DSR, 10.RI, 10.6, 10.R, 11.C, 11.DSR, 11.RI, 11.R, 12.C, 12.DSR, 12.RI, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: A.4, A.5, A.8, A.9, AFDA.3, AFDA.4, AFDA.5, AFDA.6, AFDA.7, AFDA.8, COM.1, COM.3, COM.5, COM.8 |  |  |  |
| 15 | Demonstrate information-literacy skills. | Demonstration includes - defining information literacy - locating and evaluating credible and relevant sources of information - using information effectively to accomplish work-related tasks. | - What is information literacy? - How should sources of information be evaluated and verified for credibility? - Where can one locate credible and relevant information sources within a potential career cluster? | English: 9.C, 9.DSR, 9.RI, 9.R, 10.C, 10.DSR, 10.RI, 10.6, 10.R, 11.C, 11.DSR, 11.RI, 11.R, 12.C, 12.DSR, 12.RI, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: A.8, A.9, AFDA.3, AFDA.4, AFDA.6, AFDA.7, AFDA.8, DM.8, PS.1*, PS.2*, PS.3*, PS.4*, PS.7*, PS.8*, PS.9*, PS.10* Science: BIO.1, CH.1, ES.1, PH.1 |  |  |  |
| 16 | Demonstrate an understanding of information security. | Demonstration includes - identifying various information types/formats (e.g., paper, electronic) - describing cybersecurity (e.g., risks, threats, vulnerabilities) - using technology ethically (e.g., appropriately using social networks, managing personal information) - abiding by workplace policies (e.g., acceptable use policy [AUP]) - protecting confidentiality (e.g., protecting login information and customer information) - following workplace security procedures. | - What is cybersecurity? Why is it important? - What information is considered sensitive? How can a person protect sensitive information? - What are the possible consequences of failing to protect confidentiality? - What are the possible consequences of an employee failing to adhere to a company's AUP? | English: 9.C, 9.DSR, 9.RI, 9.W, 9.R, 10.C, 10. DSR, 10.RI, 10.W, 10.R, 11.C, 11.DSR, 11.RI, 11.W, 11.R, 12.C, 12.DSR, 12.RI, 12.W, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: COM.10 |  |  |  |
| 17 | Maintain working knowledge of current information-technology (IT) systems. | Maintaining working knowledge of current IT systems may include, but is not limited to, - hardware and devices (e.g., peripherals) - software and applications - cloud-based services - file-sharing techniques - emerging technologies - troubleshooting protocols and techniques. | - What technology systems are common within a given industry? - How does one keep current with information technology? - What steps should be taken if there is a problem with technology in the workplace? | English: 9.C, 9.W, 9.R, 10.C, 10.W, 10.R, 11.C, 11.W, 11.R, 12.C, 12.W, 12.R History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: COM.1, COM.2, COM.7, COM.9, COM.10, COM.11, COM.16, COM.18, PS.17 |  |  |  |
| 18 | Demonstrate proficiency with technologies, tools, and machines common to a specific occupation. | Demonstration includes selecting and using technology, tools, and machines to accomplish work. | - What technology, tools, or machines are common in a given industry? - How are technology, tools, or machines used to accomplish job tasks efficiently? - Why is it important to be proficient with industry-specific technology, tools, and machines? | History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: A.7, A.8, A.9, AFDA.1, AFDA.3, AFDA.5, AII.4, AII.7, AII.9, COM.1, COM.7, COM.10, COM.11, COM.12, COM.16 |  |  |  |
| 19 | Apply mathematical skills to job-specific tasks. | Application could include - performing calculations (e.g., percentages, fractions, addition, subtraction, averages, measurement, conversions, monetary transactions) - applying mathematical processes to accomplish job-specific tasks (e.g., estimating required supplies, completing expense reports) - managing personal finance (e.g., understanding wage rates, paycheck deductions, taxes, sales receipts). | - What mathematical skills are required to attain an entry-level job in a specific field? What mathematical skills are required for higher-level jobs within that field? - What resources are available to assist in the improvement of mathematical skills? - Why are mathematical skills considered communication skills? | English: 9.DSR, 9.RI, 9.W, 10.DSR, 10.RI, 10.W, 11.DSR, 11.RI, 11.W, 12.DSR, 12.RI, 12.W History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Mathematics: A.1, A.3, A.4, A.5, A.7, A.8, A.9, AFDA.1, AFDA.3, AFDA.5, AFDA.8, AII.3, AII.7, AII.9, AII.10, COM.1, COM.7 Science: BIO.1, CH.1, ES.1, PH.1 |  |  |  |
| 20 | Demonstrate professionalism. | Demonstration includes - defining professionalism - practicing punctuality and attendance - adhering to work-schedule expectations - exercising etiquette (e.g., language, manners, and behaviors suitable for the workplace and online; appropriate verbal and nonverbal communication) - exhibiting professional self-representation (e.g., using a firm handshake, introducing oneself, making eye contact) - maintaining professional appearance (e.g., maintaining personal hygiene, adhering to a dress code). | - What is professionalism? How is it demonstrated? - How can a person make a positive first impression? Why is this important? - Why is professional appearance important in the workplace? - Why are punctuality and attendance important in the workplace? - What are some examples of workplace schedule expectations? - How do behavior and communication expectations differ between home and school? How might these expectations differ in the workplace? | English: 9.C, 10.C, 11.C, 12.C History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 21 | Demonstrate reading and writing skills. | Demonstration includes - reading and interpreting workplace documents - effectively writing workplace documents, considering - ability to convey messages with clarity - professional tone, appropriate to audience - grammar - forms and conventions (e.g., formatting documents, using an email signature). | - What level of reading and writing skills are required for an entry-level job in a given industry? - How do reading and writing skills help a person succeed as an individual, family member, and citizen? - How would written correspondence differ among friends vs. between an applicant and a prospective employer? - Why is it important for an employee to gain knowledge of preferred forms and conventions in the workplace? | English: 9.C, 9.DSR, 9.RI, 9.W, 9.LU, 10.C, 10.DSR, 10.RI, 10.W, 10.LU, 11.C, 11.DSR, 11.RI, 11.W, 11.LU, 12.C, 12.DSR, 12.RI, 12.W, 12.LU History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII |  |  |  |
| 22 | Demonstrate workplace safety. | Demonstration includes, but is not limited to, - adhering to Occupational Safety and Health Administration (OSHA) standards and instructor and manufacturer guidelines - interpreting safety data sheets (SDS) - identifying and using personal protective equipment (PPE) - maintaining universal precautions (e.g., to protect against bloodborne pathogens) - identifying risks and hazards in the workplace - following emergency protocols (e.g., evacuation routes). | - What is OSHA? Under what federal department does it fall? - How does OSHA help employees identify risks and hazards in the workplace? - Where might one find an SDS? - How do emergency protocols differ within the school, the workplace, and the home? | English: 9.RI, 10.RI, 11.RI, 12.RI History and Social Science: Skills GOVT, Skills VUS, Skills WHI, Skills WHII Science: CH.1 |  |  |  |
|  | ## Examining All Aspects of an Industry |  |  |  |  |  |  |
| 23 | Examine aspects of planning within an industry/organization. | Examination should include - development of vision and mission statements - setting of performance goals and objectives - review of previous performance (e.g., productivity, profit) - evaluation of current assets - formulation of strategic and operational plans - use of planning tools (e.g., market research, budget analysis, decision-making models, competitive analyses) - determination of human, natural, technology, and capital resource needs - forecasting of trends - anticipation of changes in the business climate (e.g., economic factors, laws, regulations, taxes) - anticipation of and compensation for organizational and industry risk. | - Where can you find examples of strategic plans that align with a business or industry in your area of interest? - What lessons can you learn by comparing successful and unsuccessful businesses? - What might be some consequences of inadequate business planning? | History and Social Science: GOVT.5 |  |  |  |
| 24 | Examine aspects of management within an industry/organization. | Examination should include - effect of the organization’s structure and culture on operations - process for accomplishing goals, using available human, natural, technology, and capital resources - ways of ensuring open communication channels - ways of enabling workers to fulfill their responsibilities - evaluation of workers’ performance - provision of training and job-growth opportunities to workers - assurance of worker equity, access, and safety - resolution of conflicts - performance of employment functions (e.g., recruiting, hiring, retaining, discharging). | - What opportunities and/or activities can provide experience in management? - What are your personal characteristics, habits, and activities that would be helpful in a professional management position? |  |  |  |  |
| 25 | Examine aspects of financial responsibility within an industry/organization. | Examination should include - accounting processes - financial decision-making processes, including budget development - methods of acquiring capital - management of financial operations, including payroll, transactions, records, and reports. | - What resources are available to assist you with the various financial functions? - What are possible consequences of not having in place checks and balances for the full range of a business’s finances? |  |  |  |  |
| 26 | Examine technical and production skills required of workers within an industry/organization. | Examination should include - industry-related technical skills (e.g., communication, mathematics, science, technology, time-management, and creative-thinking skills) - industry-related production skills (specific skills used for production of goods or services) - industry-related interpersonal and team-player skills. | - How can you, as a worker, determine the necessity to develop and/or upgrade industry-related production skills? - What are some consequences of using good communication skills? Of using poor communication skills? - What is the importance of having more than one person analyze information in order to make decisions? - What steps can you take to develop industry-related interpersonal and team-player skills? |  |  |  |  |
| 27 | Examine principles of technology that underlie an industry/organization. | Examination should include - technological systems used in the industry - mathematical, scientific, social, ethical, and economic principles underlying the technological systems - impact of energy systems, fuel sources, and other technological systems on the production of goods and services - use of emerging and alternative energy resources in the production of goods and services - generation and distribution of energy to industries/organizations for use in creating goods and services. | - What are examples of ethical issues related to technologies? - Why are energy systems so important to industries/organizations? - Why is it important to maintain technological systems? - How does energy transmission affect technological systems? - What are the possible effects of alternative energy sources on industries? - What would life be like without a reliable source of energy? - What would be the effect of using electric vehicles to transport/deliver/ship goods? |  |  |  |  |
| 28 | Examine labor issues related to an industry/organization. | Examination should include - workers’ rights and responsibilities (e.g., wages, benefits, working conditions) - role of employment contracts and agreements - role of certification, licensure, and other requirements for specific jobs/occupations - role of labor organizations and other worker advocacy groups (e.g., professional/trade associations). | - What practices and methods of communication between management and labor would lead to understanding and implementing worker rights and responsibilities? - How important is compromise when dealing with labor issues? | History and Social Science: GOVT.5 |  |  |  |
| 29 | Examine community issues related to an industry/organization. | Examination should include - the effects of the organization on the community (e.g., provision of jobs, tax revenue, and goods/services; involvement in community programs/activities; environmental impact) - the effects of the community on the organization (e.g., employee base; local taxes and regulations; local government services such as roads, schools, utilities; other local services). | - In what ways can an industry enhance the community in which it is located? - How can members of the community effectively communicate their needs and concerns to a local industry? - What are examples of programs that bring together businesses and communities? | History and Social Science: GOVT.5 |  |  |  |
| 30 | Examine health, safety, and environmental issues related to an industry/organization. | Examination should include - responsibility for workers’ health and safety - laws/regulations and practices affecting workers’ health and safety - health and safety hazards - health and safety programs - responsibility for the environment - laws/regulations and practices affecting the impact on the environment - sustainability initiatives. | - What environmental concerns should an industry address? - What environmentally friendly practices and resources are available to an industry? - What methods can be used to motivate employees to become involved in effective health, safety, and environmental practices? - What forewarnings and preventive measures are available to lessen the likelihood or impact of emergencies such as personal illness or injury, tornadoes, fires, nuclear accidents, floods, and incidences of employee rage or violent behavior? | History and Social Science: GOVT.5 |  |  |  |
|  | ## Addressing Elements of Student Life |  |  |  |  |  |  |
| 31 | Identify the purposes and goals of the student organization. | Identification of the purposes of the student organization should include - providing opportunities for personal development and preparation for adult life - providing opportunities for making decisions and assuming responsibilities - encouraging democracy through cooperative action - preparing for multiple, nontraditional roles in society - promoting greater understanding between youth and adults. Identification of the goals of the student organization should include - promoting personal growth and leadership development - helping students develop life skills in the areas of character development and ethical behavior, creative and critical thinking, interpersonal communication, practical knowledge, and career preparation. |  |  |  |  |  |
| 32 | Explain the benefits and responsibilities of membership in the student organization as a student and in professional/civic organizations as an adult. | Explanation of benefits should include - development of leadership and other life skills, including planning, goal setting, problem solving, decision making, and interpersonal communication - opportunities for school and community service - development of interpersonal relationships - opportunities for experiential learning - opportunities to compete in student events on local, state, and national levels - access to professional information and opportunities - opportunities for career development. Explanation of responsibilities should include - contributory participation in the student organization as a student and in professional/civic organization activities as an adult - display of appropriate conduct in all activities and events related to the student organization and professional/civic organizations. |  |  |  |  |  |
| 33 | Demonstrate leadership skills through participation in student organization activities, such as meetings, programs, and projects. | Demonstration should include contributory participation in activities such as meetings, fund- raising projects, school and community-service projects, and competitive events. |  |  |  |  |  |
| 34 | Identify Internet safety issues and procedures for complying with acceptable use standards. | Identification should include the following: - The school division's acceptable use policy - Laws and guidelines governing Internet usage, including those about copyright and file sharing - Techniques that illegitimate parties use to solicit personal information - Techniques that help protect a computer user against cyber predators - Software applications and user techniques that help protect against security attacks - Review the Virginia Department of Education guidelines for instructional programs related to Internet safety. |  |  |  |  |  |
|  | ## Exploring Work-Based Learning |  |  |  |  |  |  |
| 35 | Identify the types of work-based learning (WBL) opportunities. | Identification includes - job shadowing - mentorship - externship - school-based enterprise - entrepreneurship - internship - service learning - clinical experience - cooperative education - Youth Registered Apprenticeship - Registered Apprenticeship - Supervised Agricultural Experience. | - What is work-based learning? - How can work-based learning help an individual identify a career choice? - How will being an active listener help an individual in a work-based learning situation? - How will participation in a work-based learning situation improve leadership skills? Teamwork skills? - What is the importance of teamwork in a work-based learning situation? - Why is time management important in work-based learning? - What consequences may result if a person fails to meet deadlines? |  |  |  |  |
| 36 | (Optional) Reflect on lessons learned during the WBL experience. | Reflection includes - workplace procedures - application of course competencies to WBL experience - new knowledge gained through the WBL experience. | - What are some practices that will help in the reflection process? - What are necessary skills to pursue a career in the related area? - Why is it important to reflect on the WBL experience? - Why is cooperation vital to being successful during a WBL experience? - What other opportunities may exist for a person who excels during a WBL experience? - How can the skills gained during a WBL experience benefit a student after graduation? |  |  |  |  |
| 37 | Explore career opportunities related to the WBL experience. | Exploration includes - listing possible careers related to this course - describing each career - determining the education and experience required - exploring job opportunities, salaries, and benefits. | - What are some local career opportunities in each of the career pathways? - What level of education is required for different careers in each of the career pathways? - What are the potential salaries and opportunities for advancement in different careers within the pathways? - What careers are available through government agencies? - How would an individual begin to start his/her own business? - What is the career outlook for the pathways within the WBL experience? - What are some careers within the WBL experience that interest you? |  |  |  |  |
| 38 | (Optional) Participate in a WBL experience, when appropriate. | Participation includes - an emphasis on the relationship between course competencies and the WBL experience - adherence to workplace expectations during the WBL experience - completion of the WBL experience. | - Who can participate in a WBL experience? - Why is it important to keep the lines of communication open with the WBL experience participants? - What role does active listening play in performing various tasks during the WBL experience? - How does participating in a WBL experience contribute to career development? - What can students do to balance time, work, and study during a WBL experience? - What consequences may result if a participant does not follow instructions during a WBL experience? |  |  |  |  |
|  | Applying Basic Construction Safety Standards (Core Safety) |  |  |  |  |  |  |
| 39 | Comply with federal, state, and local safety regulations. | Compliance should include - the identification of the Occupational Safety and Health Administration (OSHA) Hazard Communication Standard (HazCom) - the responsibilities of employers and employees under HazCom - the information included on safety data sheets (SDS). Compliance should also include regulations from - OSHA - Virginia Occupational Safety and Health Program (VOSH) - U.S. Environmental Protection Agency (EPA). | Process/Skill Questions: - Where should hazardous materials be stored? - What information can be found on an SDS? - What is the significance of Underwriter Laboratories (UL)? | English: 12.RV 12.RI 12.C Science: CH.1 | Occupational Scrapbook Occupational Health and Safety Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety |
| 40 | Maintain a safe working environment. | Maintenance should be ongoing and include regular inspection of the work environment. Maintenance should result in identifying potential hazards on a job site or in the lab, such as - unstable or improperly erected scaffolding - electrical hazards - debris - improperly stored materials - air quality hazards. When present, hazards must be remedied by appropriate measures, in compliance with school and instructor guidelines. | Process/Skill Questions: - What are examples of job-site hazards? - Why is it important to maintain a safe working environment? - Why is it important to store materials and tools in their proper places? | English: 12.RV 12.C Science: PH.1 | Occupational Health and Safety Scrapbook Occupational Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 41 | Explain safe working practices around electrical hazards. | Explanation should include - identifying approach boundaries - identifying equipment used to test electrical circuits - describing safe working conditions - demonstrating safe work habits according to industry standards and instructor's guidelines - describing National Fire Protection Association (NFPA) 70E safety standards. Teacher Resource: NFPA 70E Fact Sheet | Process/Skill Questions: - What is the definition of proximity work? - What are safe working clearances according to the National Electric Code (NEC)? - What is the unseen hazard with electrical work? - What are the multimeter CAT (category) safety ratings? | English: 12.RV 12.LU 12.C Science: PH.1 | Occupational Health and Safety Scrapbook Occupational Scrapbook Job Demo A |  | NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 42 | Assess shock, arc blast, and arc flash hazards. | Assessment should include adhering to 70E standards. Teacher Resource: NFPA 70E Fact Sheet | Process/Skill Questions: - What are shock hazards? - What are arc-blast hazards? - What are arc-flash hazards? | English: 12.RV 12.RI 12.C | Occupational Health and Safety Scrapbook |  | NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 43 | Identify emergency first aid procedures. | Identification should include first aid procedures for accidents involving - bodily fluids - electrical injuries (e.g., that may require automated external defibrillator [AED] use) - eye injuries - falls - burns according to standard first aid and school policies. Teacher Resource: Ugly’s Electrical References | Process/Skill Questions: - What are the steps that should be followed in the event of an accident? - Why is knowing cardiopulmonary resuscitation (CPR) an important skill within the electrical trades? - Why is it important to be certified to administer first aid? - What are the different classifications (degrees) of electrical burns? | English: 12.RV 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety |
| 44 | Identify the types of fires and the methods used to extinguish them. | Identification should include - the classifications of fires (i.e., A, B, C, D, K) - causes and prevention of fires - types of extinguishers - (when possible) the demonstrated use of a fire extinguisher in accordance with government regulations and instructor guidelines. Teacher Resource: Ugly’s Electrical References | Process/Skill Questions: - Why do fires have different classifications, and what are they? - What is the fire triangle? - What are the three things necessary to start a fire? - Why is it important to know the classification of fire when trying to extinguish it? - Why should extinguishers be inspected, and how often should they be inspected? - What are the classifications of extinguishers? | English: 12.RV 12.RI 12.LU 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety |
| 45 | Identify personal protective equipment (PPE) requirements. | Identification should include procedures for - putting on PPE - wearing PPE - removing PPE - inspecting PPE to determine if it is safe to use. PPE may include - eye protection - respirator - hard hat - gloves - safety harness - hearing protection - safety shoes. Teacher Resource: Ugly’s Electrical References | Process/Skill Questions: - What are some dangerous effects of sun exposure, and how can one significantly prevent these effects? - Why is wearing jewelry prohibited while in the lab or on the job site? | English: 12.RV 12.RI 12.LU 12.C Science: PH.1 | Occupational Health and Safety Scrapbook Occupational Scrapbook Job Demo A |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 46 | Inspect course-specific hand and power tools to visually identify defects. | Inspection of power tools should include - identifying components of machinery (e.g., guards, blades, moving parts, start/stop switches) - identifying standard safety procedures (i.e., lab practices and manufacturer recommendations) - observing a demonstration of the safe operation and use of each piece of machinery in the lab - identifying tool defects. | Process/Skill Questions: - What basic power tools are used in construction? - What are the proper actions to take before using a power circular saw? - Why should a power tool always be grounded? | English: 12.RV 12.C | Occupational Health and safety Scrapbook Occupational Scrapbook Job Demo A Teamwork |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00103 Introduction to Hand Tools - 00104 Introduction to Power Tools |
| 47 | Demonstrate lifting and carrying techniques. | Demonstration involves lifting and carrying materials and equipment based on the principles of - lifting with legs - keeping back straight - holding load close to the body - getting help, if necessary in accordance with government regulations and instructor guidelines. | Process/Skill Questions: - What are common injuries associated with improper lifting techniques? - What can one do to prevent injury? - How does proper positioning affect proper technique? | English: 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook Job Demo A |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00109 Introduction to Materials Handling |
| 48 | Demonstrate safe laddering techniques. | Demonstration should include observing appropriate conduct and safety procedures while - using ladders (e.g., three-point contact) - carrying ladders (e.g., two people at all times) - erecting and setting ladders. Demonstration may also include identifying the parts and safety features of additional ladder types, such as - wall (straight) ladder - articulating ladder - extension and single ladder - roof ladder - attic ladder - special purpose ladders (e.g., “A” ladder, folding ladder, pompier ladder) - solid beam ladder - fiberglass ladder and the parts and safety features of each. | Process/Skill Questions: - Why are ladders rated for certain weights? - Why is the apex (highest point) of a step ladder not considered a step? - Why should an electrician never use an aluminum ladder or platform? | English: 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook Job Demo A |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 49 | Describe safe scaffolding techniques. | Description should include identifying - settings - duty ratings - safety tags. | Process/Skill Questions: - How can one determine the safe weight limit for scaffolding? - When is scaffolding preferred or required? - What type of hazards are specific to baker’s scaffolding? | English: 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook Job Demo A |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 50 | Demonstrate lockout/tagout procedures. | Demonstration should include - identification of different types of lockout/tagout equipment - explanation of proper lockout/tagout procedures - adherence to industry standards and instructor guidelines. | Process/Skill Questions: - Who is authorized to remove a lockout and tagout? - Why should equipment be locked out/tagged out? - Who is required to use a lockout/tagout? - How many keys are issued for a lockout/tagout? | English: 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook Job Demo A |  | NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 51 | Report injuries. | Report should consist of an immediate oral statement of the job-related or non-job-related injury to the instructor or supervisor and may be followed by a written confirmation reporting date, extent of injury, and circumstances of the accident. Report should incorporate OSHA reporting standards. Teacher Resource: Laws and Regulations, OSHA | Process/Skill Questions: - Why is it important to report injuries? - What are common reporting procedures? - Why is it important to report an injury promptly, before leaving the job site? - What is workers’ compensation? - What are the key components of a report? | English: 12.RV 12.LU 12.C 12.W | Occupational Health and Safety Scrapbook Occupational Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety |
| 52 | Demonstrate the reporting of personal, environmental, and equipment safety violations. | Demonstration should include an oral or written statement identifying the violation and the date it was observed. It should be given to the instructor, supervisor, or local OSHA inspector. | Process/Skill Questions: - What ethical considerations might be involved when reporting coworkers? - Why is it important to follow reporting procedures? - What is liability? | English: 12.LU 12.C 12.W | Occupational Health and Safety Occupational Scrapbook Job Demo A |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
| 53 | Pass safety exam. | Passing the exam should demonstrate participation in safety training programs, including - attending safety meetings - demonstrating knowledge and skills gained from program topics (e.g., interpretation of SDS). | Process/Skill Questions: - How often should one participate in safety training programs? - How does insurance affect the requirement for continuous retraining for safety? - What is workers’ compensation? | English: 12.RV 12.RI 12.W | Occupational Health and Safety Scrapbook Occupational Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00101 Basic Safety NCCER Electrical Level 1, 2023 - 26102-23 Safety for Electricians |
|  | Managing Tools and Materials |  |  |  |  |  |  |
| 54 | Manage hand tools. | Use should include - various types of hand tools, including specialty tools (e.g., megohmmeter [or “megger”]) - steps for correct operation - maintenance associated with each tool - preventive maintenance - acquisition and replacement of tools - compliance with manufacturer instructions, government regulations, and the instructor guidelines. | Process/Skill Questions: - Why is hand tool safety important? - What is a tool list for an advancing apprentice? - Why should workers properly care for and maintain hand tools? - How does the condition and maintenance of hand tools affect safety? | English: 12.RV 12.C | Occupational Health and Safety Scrapbook Occupational Scrapbook Electrical Construction Wiring Teamwork Job Demo A |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00103 Introduction to Hand Tools |
| 55 | Manage power tools. | Management should include - repairing cords - replacing chucks - maintaining the tools (e.g., refilling hydraulic fluid) - replacing fixed blades as necessary - complying with manufacturer instructions, government regulations, and instructor guidelines. | Process/Skill Questions: - Why should one inspect every power tool before use? - How do you know when it is time to replace, rather than to repair, a given tool? | English: 12.RV 12.C | Occupational Scrapbook Job Demo A Electrical Construction Wiring Teamwork |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00104 Introduction to Power Tools |
| 56 | Use specialty testing devices. | Use may include - megohmmeter - ohmmeter - light meter - phase rotation meter - battery testers - discharge probe. | Process/Skill Questions: - What common types of testing devices are used in the electricity trade? What do they measure? - Why is it important to have the testing device set to the proper function before taking a reading? - What is the first step when using an ohmmeter? - How do you identify a resistor by the color band? - Why should the testing device leads be inspected before taking a reading? - Why should one know the voltage ratings of the testing device? | English: 12.RV 12.RI Science: PH.8 | Occupational Scrapbook Job Demo A Electrical Constructional Wiring |  | NCCER Electrical Level 1, 2023 - 26112-23 Electrical Test Equipment |
|  | Solving Mathematical Problems Related to Electricity |  |  |  |  |  |  |
| 57 | Use calculators to solve electrical problems. | Use should include solving instructor-assigned problems related to - load calculations/feeder calculations - service calculations - lighting. Teacher Resource: HammerMath, NCCER | Process/Skill Questions: - What types of problems can calculators solve? - What are simple symbols on a calculator? - What is the sine symbol on a calculator? | English: 12.C Science: PH.8 | Electrical Construction Wiring Related Technical Math Occupational Scrapbook |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00102 Introduction to Construction Math |
| 58 | Use calculators to solve conduit-bending problems. | Use should include applying the Pythagorean theorem to calculate a rolling offset. Teacher Resource: HammerMath, NCCER | Process/Skill Questions: - What is a box offset? - What is a three-bend saddle? - What is a back-to-back 90-degree bend? - What are concentric bends? - What is a stub-up? | English: 12.C Mathematics: G.TR.4 | Related Technical Math Occupational Scrapbook Electrical Construction Wiring |  | NCCER Core Curriculum: Introduction to Basic Construction, 2021 - 00102 Introduction to Construction Math NCCER Electrical Level 1, 2023 - 26107-23 Hand Bending |
|  | Installing Conductors |  |  |  |  |  |  |
| 59 | Explain the steps for pulling cable into a raceway in a commercial or industrial setting. | Explanation may include - setting up a power puller/tugger - setting up wire stands - installing a pull line for cable pulling - preparing the conduit. | Process/Skill Questions: - What is a wire basket or Kellems grip? - What is wire lubricant? - What is a fish tape or draw tape? - What is a tugger? | English: 12.RV 12.C 12.LU | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 2, 2023 - 26206-23 Conductor Installations |
| 60 | Install conductors. | Installation should include - selecting conductors - using various wiring methods - using industry-accepted testing procedures in accordance with NEC standards. | Process/Skill Questions: - What abbreviation is used for copper and aluminum? - What is a bending radius? - Why is it important to support a conductor properly? - What are the consequences of failing to communicate effectively when installing conductors? - What are the different types of insulation, and for what are they used? | English: 12.RV 12.C | Electrical Construction Wiring Teamwork Job Demo A |  | NCCER Electrical Level 2, 2023 - 26206-23 Conductor Installations |
| 61 | Identify the color codes for phasing wires. | Identification should include colors from different voltages for both single-phase and three-phase wiring. | Process/Skill Questions: - What are the different international industry standards for color-coding wire? - What is the color of a high-leg phase? - What are the most commonly used colors for voltages up to 250 V? - What are the most commonly used colors for voltages up to 600 V? | English: 12.RV 12.C | Electrical Construction Wiring Teamwork Job Demo A |  | NCCER Electrical Level 1, 2023 - 26109-23 Conductors and Cables |
| 62 | Identify material associated with conduits and raceways. | Identification should include - connectors - fittings (including seal-offs and explosion-proof) - supports for various conduit and raceway wiring systems. | Process/Skill Questions: - What are the applications required by each type of raceway and fitting? - Why is it necessary to install seal-offs? - What is the purpose of an explosion-proof path? | English: 12.RV 12.C | Electrical Construction Wiring Teamwork |  | NCCER Electrical Level 1, 2023 - 26108-23 Wireways, Raceways, and Fittings |
|  | Interpreting Prints and Specifications |  |  |  |  |  |  |
| 63 | Draw a commercial electrical plan. | Drawing should include - a floor plan where switches, outlets, and wiring are placed in their appropriate positions - use of accepted drafting standard symbols and NEC minimum guidelines, as assigned by the instructor. | Process/Skill Questions: - What is a legend on an electrical plan? - Why should the drawing have a scale? - How is the scale interpreted? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 1, 2023 - 26110-23 Basic Electrical Construction Documents |
| 64 | Read electrical drawings, including schematics and specifications. | Reading should include components used in construction, as shown by drafting standards and by developing a list of materials from plans and specifications, in accordance with instructor guidelines. | Process/Skill Questions: - What is a specification? What is the purpose of specifications? - Why are symbols used on electrical drawings? - What is the importance of a ladder diagram? - What is the difference between line voltage and control voltage? | English: 12.RV 12.RI | Electrical Construction Wiring Teamwork Job Demo A |  | NCCER Electrical Level 1, 2023 - 26110-23 Basic Electrical Construction Documents |
| 65 | Interpret a control ladder diagram. | Interpretation should include - wire numbers - cross-reference numbers - line numbers - standard industrial wiring symbols. | Process/Skill Questions: - What is the purpose of line numbers on a ladder diagram? Cross-reference numbers? - How does one read a ladder diagram? - What are the differences between a ladder diagram and a wiring diagram? | English: 12.RI | Electrical Construction Wiring Teamwork Job Demo A |  |  |
|  | Identifying Service Equipment, Generators, and Power Supplies |  |  |  |  |  |  |
| 66 | Identify service entrance equipment. | Identification should include - types of service equipment - locations of service equipment - number of services (i.e., different locations) - service changes - service upgrades - clearances - service grounding and bonding - generator backup, emergency panel, and systems according to NEC standards and authority having jurisdiction (AHJ). | Process/Skill Questions: - What is a transfer switch? - What is the difference between a manual and an automatic transfer switch? - What is the difference between a main breaker panel and a main lug panel? - What is the difference between a single-phase and a three-phase distribution system? - How is color coding used in identifying phase conductors? - What is the difference between line and load? - What is fault current rating? - What is the difference between a service panel and a subpanel? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 1, 2023 - 26105-23 Introduction to the National Electrical Code - 26111-23 Residential Wiring |
| 67 | (Optional) Identify the types and configurations of uninterruptible power supplies (UPSs). | Identification should include labeling the parts of direct current (DC) and alternating current (AC) power supplies. Identification should also include inverters and rectifiers. | Process/Skill Questions: - Where are UPSs normally used? - Where is power stored in the UPS? - What is a rectifier? An inverter? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A Occupational Scrapbook |  |  |
|  | Exploring Transformers |  |  |  |  |  |  |
| 68 | Identify the function, operation, and characteristics of transformers. | Identification should include - naming the components of a transformer - explaining the principles of induced voltage - explaining the principles of transformer operation - differentiating between step-up and step-down transformers - adhering to instructor guidelines. . | Process/Skill Questions: - What is a step-down transformer? - How does ratio relate to transformers? - What is an auto-transformer? - Why do large transformers contain oil? - What are types of transformers? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 3, 2023 - 26307-23 Transformers |
| 69 | Describe the components of electrical distribution systems. | Description should include - identifying the components of a distribution system from drawings, aerial pictures, or observations - outlining the functions of the components in an electrical distribution system - adhering to instructor guidelines. | Process/Skill Questions: - What are the height requirements for installing an overhead line? - What is the clearance for 3400 V line? | English: 12.LU 12.C | Electrical Construction Wiring Job Demo A Teamwork |  | NCCER Electrical Level 1, 2023 - 26101-23 Occupational Overview: The Electrical Industry |
|  | Examining Lighting, Communication, and Power Systems |  |  |  |  |  |  |
| 70 | (Optional) Explain the functions, operation, and characteristics of various lighting systems. | Explanation should include - identifying materials common to different lighting systems - identifying different types of lighting, including - fluorescent - light emitting diode (LED) - solar-powered lighting - metal halide - mercury vapor - high-pressure sodium - low-pressure sodium - stating what application type is best suited for their application - identifying various fluorescent tube sizes - distinguishing among industrial, commercial, and residential lighting systems according to manufacturer instructions and instructor guidelines. | Process/Skill Questions: - What is an electrical ballast? - With what material are fluorescent bulbs coated? - Why do fluorescent bulbs need ballasts? - Why are LEDs becoming more common? - What is CRI? - What is Kelvin temperature? - What is a lumen? | English: 12.RV 12.C 12.LU | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 2, 2023 - 26203-23 Electric Lighting |
| 71 | (Optional) Design the lighting distribution and layout of luminaires. | Design should include - drawing a basic lighting plan on an instructor-provided floor plan - selecting lighting for the given application - compiling a list of materials based on the developed lighting plan - estimating the cost of completing the assigned job - adhering to instructor guidelines. | Process/Skill Questions: - Why are compact fluorescent bulbs being phased out? - Why have LEDs become widely used? - What is a foot-candle? | English: 12.RV 12.LU 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 2, 2023 - 26203-23 Electric Lighting |
| 72 | (Optional) Explain the functions, operation, and characteristics of various communication systems. | Explanation should include - following manufacturer instructions and instructor guidelines - identifying components used in telephone, intercom, signaling, and networking systems - stating what application type is best suited for system components - stating why each is best suited for its application - describing how each is routed for application - describing the importance of linear separation from power cabling - identifying the termination of each type of cabling. | Process/Skill Questions: - What NEC article covers communications? - Why is it important to differentiate between symbols on electrical plans? - When can communication and line voltage share the same raceway? | English: 12.RV 12.RI 12.LU 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 3, 2023 - 26310-23 Voice, Data, and Video |
| 73 | (Optional) Design communication distribution and layout of outlets. | Design should include - drawing a basic communication plan on an instructor-provided floor plan - selecting the materials for the given application - compiling a list of materials based on the developed communication plan - estimating the cost of completing the assigned job - adhering to instructor guidelines. | Process/Skill Questions: - What is the symbol for speaker? - What is a hybrid fiber-coaxial (HFC) cable, and when is it used? - How does NEC Article 210 play a role in designing the layout? | English: 12.RV 12.LU 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 3, 2023 - 26310-23, Voice, Data, and Video |
| 74 | (Optional) Install communication devices. | Installation should include - following industry-accepted procedures - choosing the components used in the assigned communications layout - routing cable while observing correct linear separation from power cabling - installing the termination for each type of cabling - connecting the devices - testing for operation - troubleshooting, as necessary. | Process/Skill Questions: - What are different types of jacks? - What are the color codes in communications systems? - Why is low voltage dangerous? - Who typically installs communication systems? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A Telecommunications Cabling |  | NCCER Electrical Level 3, 2023 - 26310-23, Voice, Data, and Video |
| 75 | (Optional) Design power distribution and layout outlets. | Design should include - completing a load calculation - drawing a basic power plan on an instructor-provided floor plan - selecting materials for the given application - compiling a list of materials based on the developed power plan - estimating the cost of completing the assigned job - adhering to instructor guidelines. | Process/Skill Questions: - What is the six-foot rule? - How is the service sized or upgraded? - What is a branch circuit? What is its purpose? - What article of the NEC is relevant to power distribution? - What is the definition of the first means of disconnect? - How does NEC Article 210 play a role in designing the layout? | English: 12.RV 12.LU 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 1, 2023 - 26110-23 Basic Electrical Construction Documents - 26105-23 Introduction to the NEC |
|  | Installing and Maintaining Motors and Drives, Motor Controllers, and Programmable Logic Controllers (PLC) |  |  |  |  |  |  |
| 76 | (Optional) Identify the function, operation, and characteristics of various motors. | Identification should include - describing a variety of motors and motor controllers, such as - AC - DC - dual-voltage - single-phase - three-phase - naming the physical parts of various motors - using plans, schematics, and motor nameplates to gain information. | Process/Skill Questions: - What is the difference between single-phase and three-phase motors? - What is a double pole? - How is the rotation of the three-phase motor changed? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 2, 2023 - 26202-23 Motors: Theory and Application |
| 77 | (Optional) Demonstrate techniques for various motor installations. | Demonstration should include - installing a dual-voltage motor for single-phase operation - installing a dual-voltage motor for three-phase operation - using the NEC to calculate electrical requirements - identifying procedures for motor lead connections - testing for operation - troubleshooting, if necessary. Motors must operate correctly and be installed according to common trade practices and NEC requirements. | Process/Skill Questions: - What is the difference between a sealed motor and an open motor? - How is a motor changed from 120 V to 240 V? - What is a squirrel cage rotor? | English: 12.RI 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 2, 2023 - 26202-23 Motors: Theory and Application |
| 78 | (Optional) Identify motor controllers, circuits, process control systems, and devices. | Identification should include functions, operation, and characteristics. Identification should also include - explaining the operation of manual and automatic controllers as related to process systems - describing sensors and transmitters - designing basic schematics depicting the proper usage of controllers, sensors, and transmitters according to manufacturer specifications. | Process/Skill Questions: - What is the primary use of a motor control? - What is the primary use of a magnetic motor control? - What is a programmable logic controller (PLC)? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 2, 2023 - 26202-23 Motors: Theory and Application |
| 79 | (Optional) Wire a control circuit, given a ladder diagram. | Wiring may include - wire numbers - required components - terminations. | Process/Skill Questions: - How are wire numbers used? - How are cross-reference numbers used? - What are examples of symbols commonly used in control diagrams? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  |  |
| 80 | (Optional) Wire a multiple start/stop push-button station. | Wiring may include - wire numbers - cross-reference numbers - control devices. | Process/Skill Questions: - Why are stop buttons normally closed? - Why are start buttons normally open? - What is the purpose of a holding circuit? - How are multiple start/stop buttons wired? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 3, 2023 - 26311-23 Motor Controls |
| 81 | (Optional) Wire a control relay. | Wiring may include - wiring devices - relay and relay base - describing contact configuration. | Process/Skill Questions: - Why are control relays used? - What happens if one exceeds the maximum voltage rating of a relay coil? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 3, 2023 - 26311-23 Motor Controls |
| 82 | (Optional) Wire a two-wire motor control circuit. | Wiring may include - selector switch - motor starter coil - overload contact - pilot light. | Process/Skill Questions: - How is a two-wire control circuit different from a three-wire control circuit? - What is a maintained contact device? - What is the purpose of the overload contact? | English: 12.RV 12.C | Electrical Construction Wiring Job Demo A |  | NCCER Electrical Level 3, 2023 - 26311-23 Motor Controls |